## 1
STORAGE SYSTEM INFORMATION FORM
Below information are necessary for system design, please provide as much detail as possible, if multiple systems required, please fill system information in a separate page
No | Item |  | Unit | Description/SPEC | Remark
1 | Project Information | Name of customer
Type of customer
Project location
2 | Schedule | Date for proposal
Date for shipment
Date for installation
3 | Application | System Application
System Functions
Required Power*
Required Capacity*
|  | Working Scenario with time |  | From xxx A.M. To xxx A.M will charged; From xxx P.M. To xxx P.M will discharged;; Others______________________.
4 | Battery | Battery type
|  | Backup time | h
Battery Brand
Type of Required Procurement
Battery Communication Protocol
5 | Project Site Environment Information | Installation Environment
Earthquake requirement
|  | Average temperature | ℃
|  | Maximum temperature | ℃
|  | Average humidity |  |  | eg: zone 4 seismic
Anticorrosion requirement
6 | Utility | Utility voltage(3 phase) | V
|  | Utility frequency | Hz
Utility stability
7 | PV | Installation type
|  | PV Capacity | kWp
|  | PV Module Tender & Specification | Wp
PV Inverter Tender & Specification
8 | DG | Diesel Generator availability
|  | Diesel Generator capacity | kVA
Diesel Generator control
Diesel Generator conmunication
9 | Load | Peak load consumption | kW
|  | Load daily consumption | kWh
|  | Average load consumption | kW
Description of Load List detail (Type/Capacity/Quantity/Time)
10 | Transformer | Voltage | V
|  | Capacity | kVA
Type
11 | Monitoring System | Monitoring System Brand
13 | Product Warranty | Inverter Warranty | Year
|  | Battery Warranty | Year
|  | Others Accessaries | Year
14 | Certification | Certification Requirement
15 | Others | Other requirements
0.95 lead or Lag
Stable
Not stable
No utility
Other:
Off-grid
on-grid
on-grid&off-grid
Rooftop
Ground
Land
Orientation:
Yes
No
Automatical
Manual
Dry contact
RS232
RS485
Air Cooling
Liquid Cooling
Outdoor
Indoor
Oil immersed
dry
Back-Up
Peak-Shaving
Micro-grid
Peak Shifting,Demand Response
Grid Support
Black start
POMEGA
3-year
5-year
10-year
5-year
10-year
1-year
POMEGA
Others
CE
Others
Container
Yes
No
POMEGA
Others
Other
Cell
Module
Rack Cabinet